## Reservoir 1 Calculator
Outputs in red | Enter values in yellow | Targeted volume/stroke rate in green
Calculator #1: The following is used to calculate the amount of algae to add to the algal reservoir
Algal reservoir 1:
Total reservoir volume (mL) | Total cells needed (pull from chart below for each rearing day, this is your target total number of cells to have enough for 24hrs) | Nanno proportion | T-iso proportion | Chaetocerus proportion | confirm following line is equal to 1 | Nanno density in Carboy (cells.mL) | T-iso density in PBR (cells.mL) | Chaetocerus density in PBR (cells.mL) | Nanno volume to pull from Carboys (mL) | C-iso volume to pull from PBR (mL) | Chaetoerus volume to pull from PBR (mL)
60000 | 80870400000 | 0 | 0.5 | 0.5 | 1 | 0 | 7700000 | 8350000 |  | 5251.3247 | 4842.5389
|  | Total Nanno cells needed | Total Ciso needed | Total Chagra needed
|  | 0 | 40435200000 | 40435200000
Density in reservoir 1 (cells.mL, Ciso equivalent)
1347840
Calculator #2: The following is used to determine metering pump stroke rates for each day.
Treatments:
manifold/treatment | (Number of tanks in treatment SW manifold +1 for bleed-off line) | SW flow to each tank (mL.min) | Total flow in treatment SW manifold (mL.min) | Desired Algal density in outflow of each tank (Cells.ml.min, Ciso equivalent) | Grazing (cells.ml, difference of outflow and inflow on prior day adjusted with blank tank) | Cells needed (cells.mL.min) | Density of cells in reservoir (Cells.mL) | Flow rate needed from metering pump (mL.min) | Stroke rate (Calibrated for Walchem EZBD31D1-PC) | Rounded Stroke rate | Actual flow rate used
Treat 1/ All 3 | 4 | 72 | 288 | 10000 | 55000 | 18720000 | 1347840 | 13.8889 | 15.964 | 16 | 13.9191
[6 empty] | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Treat 2/ non-grazing | 4 | 72 | 288 | 10000 | 55000 | 18720000 | 1347840 | 13.8889 | 15.964 | 16 | 13.9191
[6 empty] | 0 | manifold/treatment | #VALUE! | #VALUE! | #VALUE! | #VALUE!
not used | 0 | 72 | 0 | 10000 | 0 | 0 | 1347840 | 0 | -0.87366 | -1 | 0
[6 empty] | 0 | 0
Not used | 0 | 72 | 0 | 10000 | 0 | 0 | 1347840 | 0 | -0.87366 | -1 | 0
Not used | 0 | 72 | 0 | 10000 | 0 | 0 | 1347840 | 0 | -0.87366 | -1 | 0
Treatment4 | 4 | 72 | 288 | 40000 | 30000 | 20160000 |  |  |  |  | 27.8382
[6 empty] | 0 | 0
Treatment5 | 4 | 72 | 288 | 80000 | 30000 | 31680000
[6 empty] | 0 | 0
|  |  | Total flow in system (mL/min) |  |  | Total # cells needed per day | Surplus cells (This number should be postitive to guarentee excess cells in reservoir) | Total volume pulled in 24hr, not to exceed volume of reservoir
|  |  | 576 |  |  | 53913600000 | 26956800000 | 40087.0194

## Reservoir 2 Calculator
Outputs in red | Enter values in yellow | Targeted volume/stroke rate in green
Calculator for NON-Grazing treatment
Algal reservoir 2:
Total reservoir volume (mL) | Total cells needed (pull from chart below for each rearing day, this is your target total number of cells to have enough for 24hrs) | Nanno proportion | T-iso proportion | Chaetocerus proportion | confirm following line is equal to 1 | Nanno density in Carboy (cells.mL) | T-iso density in PBR (cells.mL) | Chaetocerus density in PBR (cells.mL) | Nanno volume to pull from Carboys (mL) | C-iso volume to pull from PBR (mL) | Chaetoerus volume to pull from PBR (mL)
20000 | 40435200000 | 0 | 0.5 | 0.5 | 1 | 44000000 | 7700000 | 8350000 | 0 | 2625.6623 | 2421.2695
|  | Total Nanno cells needed |  | Total Chagra needed
|  | 0 | 20217600000 | 20217600000
Density in reservoir 2 (cells.mL, Tiso equivalent)
2021760
Calculator #2: The following is used to determine metering pump stroke rates for each day.
Treatments:
manifold/treatment | (Number of tanks in treatment SW manifold +1 for bleed-off line) | SW flow to each tank (mL.min) | Total flow in treatment SW manifold (mL.min) | Inflow algal density | Grazing | Cells needed (cells.mL.min) | Density of cells in reservoir (Cells.mL) | Flow rate needed from metering pump (mL.min) | Stroke rate (Calibrated for Walchem EZBD31D1-PC) | Rounded Stroke rate | Actual flow rate used
Treat 3- no nanno | 4 | 72 | 288 | 10000 | 55000 | 18720000 | 2021760 | 9.2593 | 10.3514 | 10 | 8.975
[5 empty] | 500 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Not used | 0 | 72 | 0 | 10000 | 0 | 0 | 2021760 | 0 | -0.87366 | -1 | 0
[6 empty] | 0 | manifold/treatment | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Not used | 0 | 72 | 0 | 10000 | 0 | 0 | 2021760 | 0 | -0.87366 | -1 | 0
[6 empty] | 0 | 0
Not used | 0 | 72 | 0 | 10000 | 0 | 0 | 2021760 | 0 | -0.87366 | -1 | 0
Not used | 0 | 72 | 0 | 10000 | 0 | 0 | 2021760 | 0 | -0.87366 | -1 | 0
Treatment4 | 4 | 72 | 288 | 40000 | 30000 | 20160000 |  |  |  | 6 | 8.975
[6 empty] | 0 | 0
Treatment5 | 4 | 72 | 288 | 80000 | 30000 | 31680000
[6 empty] | 0 | 0
|  |  | Total flow in system (mL/min) |  |  | Total # cells needed per day | Surplus cells (This number should be postitive to guarentee excess cells in reservoir) | Total volume pulled in 24hr, not to exceed volume of reservoir (mL)
|  |  | 288 |  |  | 26956800000 | 13478400000 | 12924.0456

## Fluorometer graph
| RFU | Cells/mL
Algal reservoir | 190 | 1347840
1micron filtered SW | 0.02 | 0
Slope | 7094.6415
Reading (RFU) | 8.235
Cells/mL | 58424.3731